SECTION 01 78 23

OPERATION AND MAINTENANCE DATA

GENERAL

RELATED DOCUMENTS

Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 01 Specification Sections, apply to this Section.

SECTION INCLUDES

Format and content of operation and maintenance manuals.

Data requirements for materials and finishes.

Data requirements for equipment and operating systems.

Instruction of University's personnel.

Submission of operation and maintenance manuals.

RELATED REQUIREMENTS

Section 01 31 13 - Coordination:  Coordination documents and models prepared for performance of the Work, to be incorporated into operation and maintenance data submitted to University's Representative at Contract closeout.

Product Specifications Sections in Divisions 2 through 33:  Specific requirements for operation and maintenance data.

QUALITY ASSURANCE

Preparation of data shall be done by personnel:

Trained and experienced in maintenance and operation of described products.

Familiar with requirements of this Section.

Skilled as technical writer to the extent required to communicate essential data.

Skilled as draftsman competent to prepare required drawings.

SUBMITTALS

Submittal for Review:  Contractor shall submit one electronic bookmarked PDF copy to Engineer for review and approval.

Final Submittal:  Contractor shall submit one electronic PDF copy and three hard copies prior to submission of final Application for Payment.

SUBMITTAL FORMAT

Format for Operation and Maintenance Data Manuals:  Contractor shall prepare data in the form of an instructional manual.  Contractor shall comply with the general requirements specified below and comply with specific requirements for types of products in Articles following.  See Article titled "SUBMISSION OF OPERATION AND MAINTENANCE MANUALS" for number of copies of manuals.

Electronic File:  Contractor shall also provide all operation and maintenance data into a single PDF bookmarked file with a table of contents.  The table of contents shall be linked to the various sections in the PDF file.

Hard Copy Format:

Size:  8-1/2 in. by 11 in.

Paper:  Manufacturer's printed data, or neatly typewritten.

Drawings:

Provide reinforced punched binder tab, bind in with text.

Fold larger drawings to size of text pages.

Provide fly-leaf for each separate product, or each piece of operating equipment.

Organize manual in order of specification Divisions and Sections.

Provide typed description of product, and major component parts of equipment.

Provide indexed tabs.

Cover: Identify each volume with typed or printed title, "Operating and Maintenance Instructions".  List:

Title of Project

Identity of separate structure as applicable.

Identity of general subject matter covered in the manual.

Binders:

Commercial quality three-ring binders with durable and cleanable plastic covers.

Maximum ring size:  2 inches per 170 sheets

When multiple binders are used, correlate the data into related consistent groupings.

CONTENT OF MANUAL

Neatly typewritten table of contents for each volume, arranged in systematic order.

Include name of Contractor, name of responsible principal, address and telephone number.

Include a list of each product required to be included, indexed to content of the volume.

List, with each product, the name, address and telephone number of:

Subcontractor or installer.

Maintenance contractor, as appropriate.

Local source of supply for replacement parts.

Identify each product-by-product name and other identifying symbols as set forth in Contract Documents.

Product Data:

Include only those sheets that are pertinent to the specific product.

Annotate each sheet to:

Clearly identify specific product or part installed.

Clearly identify data applicable to installation.

Delete references to inapplicable information.

Drawings:

Supplement product data with drawings as necessary to clearly illustrate:

Relations of Component parts of equipment and systems.

Control and flow diagrams.

Coordinate drawings with information in Project Record Documents to assure correct illustration of completed installation.

Do not use Project Record Documents as maintenance drawings.

Provide written text as required to supplement product data for the particular installation:

Organize in a consistent format under separate headings for different procedures.

Provide logical sequence of instructions for each procedure.

Provide a copy of each warranty, bond and service contract issued.

Provide information sheet for Owner's personnel, including:

Proper procedures in event of failure.

Instances that might affect validity of warranties or bonds.

Provide a copy of each Material Safety Data Sheet (MSDS) received with products or materials delivered to the site for incorporation into the Project, for Owner's future reference.

MANUAL FOR MATERIALS AND FINISHES

Content, for architectural products, applied materials and finishes:

Manufacturer's data, giving full information on products.

Catalog number, size, and composition.

Color and texture designations.

Information required for re-ordering special manufactured products.

Instructions for care and maintenance.

Manufacturer's recommendation for types of cleaning agents and methods.

Cautions against cleaning agents and methods that are detrimental to the product.

Recommended schedule for cleaning and maintenance.

Content, for moisture-protection and weather-exposed products:

Manufacturer's data, giving full information on products.

Applicable standards.

Chemical composition.

Details of installation.

Instructions for inspection, maintenance, and repair.

Additional requirements for maintenance data:  Refer to other sections of Specifications.

MANUAL FOR EQUIPMENT AND SYSTEMS

Content for each unit of equipment and system, shall be as follows (as appropriate):

Description of unit and component parts

Function, normal operating characteristics, and limiting conditions

Performance curves, engineering data and tests

Complete nomenclature and commercial number of replaceable parts

Operating Procedures:

Start-up, break-in, routine and normal operating instructions

Regulation, control, stopping, shutdown, and emergency instructions

Seasonal operating instructions

Special operating instructions

Maintenance Procedures:

Routine operations

Guide to "trouble shooting"

Disassembly, repair and re-assembly

Alignment, adjusting and checking

Servicing and lubrication schedule.

List of lubricants required

Servicing schedule

Manufacturer's printed operating and maintenance instructions

Description of sequence of operation by control manufacturer

Original manufacturer's parts list, illustrations, assembly drawings and diagrams required for Maintenance

Predicted life of parts subject to wear

Items recommended to be stocked as spare parts

As-installed control diagrams by controls manufacturer

Each contractor's coordination drawings

As-installed color-coded piping diagrams

Charts of valve tag numbers, with location and function of each valve

List of original manufacturer's spare parts, manufacturer's current prices, and recommended quantities to be maintained in storage

Other data as required under pertinent sections of specifications

Content, for each electric and electronic system, as appropriate:

Description of system and component parts

Function, normal operating characteristics and limiting conditions

Performance curves, engineering data and tests

Complete nomenclature and commercial number of replaceable parts

Circuit directories of panel boards.

Electrical service

Controls

Communications

As-installed color coded wiring diagrams

Operating procedures:

Routine and normal operating instructions

Sequences required

Special operating instructions

Maintenance procedures:

Routine operations

Guide to "trouble-shooting."

Disassembly, repair and reassembly.

Adjustment and checking.

Manufacturer's printed operating and maintenance instructions.

List of original manufacturer's spare parts, manufacturer's current prices, and recommended quantities to be maintained in storage.

Other data as required under pertinent sections of specifications.

Prepare and include additional data when the need for such data becomes apparent during instruction of Owner's personnel.

Additional requirements for operating and maintenance data: As required by other sections of specifications.

INSTRUCTION OF UNIVERSITY PERSONNEL

Operating and maintenance manual shall constitute the basis of instruction.

Review contents of manual with personnel in full detail to explain all aspects of operations and maintenance.

Complete additional training as specified in other sections of the Specifications. Refer to Section 01 75 00, Starting and Adjusting Procedures.

PRODUCTS (Not Used)

EXECUTION (Not Used)

END OF SECTION