**Seismic Priority List 1**

|  |  |  |  |
| --- | --- | --- | --- |
| **Campus** | **Building** | **Building#** | **page2image2976432Capital Outlay Notes** |
| **A. Buildings occupied.** | | | |
| DH | Leo F. Cain Library | 20 | 5th and partial 1st floor remaining work to be completed |
| EB | Library | 12 | 1st Phase complete – No decision by Campus on West wing |
| EB | Meiklejohn Hall | 9 | Campus performed new assessment and building transferred from List 2 to List 1. |
| EB | Corporation Yard – Now SPL 1A | 5 | New Assessment completed – need funding for retrofit… waiting for const. of upgrades |
| HU | Van Duzer Theatre (Theatre Arts) | 10 | Work Complete – waiting for COO |
| HU | Library | 41 | Work complete – waiting for COO |
| HU | Science B Walkway | #3A/#3B | Need to confirm if Campus is working on new assessment |
| LA | Administration | 8 | Relocation of occupants to completed Physical Sciences retrofit in 2022 |
| PO | Kellogg West | 76 | Recommended to campus that hill stability be monitored |
| PO | CLA | 98 | Remaining CLA needs assessment by SRB |
| SF | Building 49 (Tiburon) | T-49 | Retrofit work complete – waiting for COO |
| SF | Building 50 (Tiburon) | T-50 | Retrofit construction work underway |
| SJ | North Parking Garage (Stair Towers) | 53 | Retrofit design complete; awaiting construction budget (7/18) |
| **B. Buildings that are vacant or used for storage with no occupants. Buildings on this portion of the list may not be used for occupancies without addressing CEBC deficiencies before such is allowed.** | | | |
| CI | Ironwood Hall (‘SH’ Shops – mid section) | 24 | No office use – storage only |
| SF | Marine Support (Tiburon) | T-21 | Storage; no in and out |
| SF | Dispensary (Tiburon) | T-37 | Unoccupied |
| SF | Blacksmith Shop (Tiburon) | T-22 | Unoccupied and used as storage |
| SF | Physiology (Tiburon) | T-54 | Unoccupied and entry restricted. |
| SL | Old Power House | 76 | Unoccupied |
| SJ | Rubis Storage (Moss Landing) | None | Storage; URM Chimney needs demolition or replacement |

**Seismic Priority List 2**

|  |  |  |  |
| --- | --- | --- | --- |
| **Campus** | **Building** | **Building#** | **Capital Outlay Notes** |
| CI | Ironwood Hall (Old Power Plant) | 24 | - |
| CI | Chaparral Hall | 22 | Schduled for Major Capital Design & Const. in 2023/2024 |
| CI | Ironwood Hall (Warehouse) | 24 | - |
| CI | Ironwood Hall (‘SH’ Shops – north section) | 24 | - |
| CH | Whitney Hall | 13 | A structural/seismic engineering evaluation is complete (8/18) |
| FR | Grosse Industrial Technology | 12 | Schduled for Major Capital Design & Const. in 2023/2024 |
| EB | Science Building-North | 1 | - |
| EB | Robinson Hall | 10 | - |
| FR | University Student Union | 80 | - |
| HU | Gist Hall | 23 | - |
| HU | Nelson Hall East& West | 14A/14B | - |
| HU | Science D | 3D | - |
| FL | Titan Bookstore | 6 | Design study complete |
| LB | Peterson Hall 1 | 37 | Future Demo |
| LA | Career Center | 17 | - |
| LA | Student Health Center | 14 | Preliminary design study complete |
| LA | Kennedy Memorial Library | 7 | Further feasibility studies under way |
| PO | Administration | P | - |
| PO | Letters, Arts and Social Science | 5 | - |
| PO | Engineering | 9 | - |
| PO | Art/Engineering Annex | 13 | - |
| PO | Drama/Theater | 25 | - |
| PO | Arabian Horse Center | 29 | - |
| PO | Poultry Unit | 31 | - |
| PO | Sheep Unit | 38 | - |
| PO | Ag Storage/Blacksmith | 50 | - |
| PO | Los Olivos Commons | 70 |  |
| PO | Manor House | 111 | - |
| PO | University House | 112 | - |
| SA | Douglass Hall | 4 | - |
| SB | Meeting Center (SMSU East | 19 | - |
| SB | Performing Arts | 20 | - |
| SB | Faculty Office Building | 25 | - |
| SB | Jack H Brown Hall | 28 | - |
| SB | Health and Physical Education Buildings A & B, | 34 | - |
| SF | HSS Classroom Building (Old Humanities) | 3 | PW 2018-19 Request |
| SF | Administration | 30 | Long term shoring in place |
| SF | University Park North (Apartment Building 6) | 100 | - |
| SF | University Park North (Apartment Building 7) | 100 | - |
| SF | University Park North (Apartment Building 8) | 100 | - |
| SF | University Park North (Apartment Building 9) | 100 | - |
| SF | Administration (Tiburon) | T-30 | - |
| SF | Rockfish (Tiburon) | T-33 | - |